## Slide 1: Northern Guam Lens Aquifer Groundwater Modeling Program: configuring sustainable water production limits
D.G. Superales, N.C. Habana, Y.S. Kim, J.W. Jenson, and S.B. Gingerich
Water & Environmental Research Institute of the Western Pacific, University of Guam
Pacific Island Water Science Center, US Geologic Survey

## Slide 2
Previous Works – 2010 to 2014
http://hi.water.usgs.gov/publications/pubsguam.html
USGS
WERI
The Effects of Withdrawals and Drought on Groundwater Availability in the Northern Guam Lens Aquifer, Guam. By Gingerich, Stephen

## Slide 3
Modeling Parabasal Yield:
Argus ONE, SUTra, GW Chart, GIS, Notepad Plus, and Excel

## Slide 4
Results

## Slide 5
Andersen
Andersen Basin
Agafa Gumas Basin

## Slide 6
AG, Finegayan
Finegayan Basin
Agafa Gumas Basin

## Slide 7
Yigo Trough
Finegayan Basin
Yigo Basin

## Slide 8
YT, Mangilao, NH
Yigo-Tumon Basin
Mangilao Basin
North Hagatna Basin

## Slide 9
Natural Limits – South Hagatna
South Hagatna Basin
Pago-Adelup Fault

## Slide 10
Ultimate Yield ?
well xn
well xn-1
well x4
well x3
well x1
t
Q, [Cl-] < 250 mg/l
Ultimate Yield
...
UY
well x2
MGD?

## Slide 11
The Imaginary System
Notes: We’ve installed a picket fence of about 100 wells in the para-basal zone to intercept all of the water descending from the supra-basal zone, thus targeting the 25% of the recharge that descends in these two zones…
We’ve also installed a couple dozen to intercept the para-basal water that descends down the Adelup Fault, at the southwest end of the aquifer.
For comparison, here is the map again of the actual system [bring up map]
Here is a summary of the differences between the two systems [first table, pause for them to read]
Note that the total extraction of the imaginary system is nearly double that of the actual system.
Let’s look now at the extraction efficiencies, zone-by-zone [second table]
Here is the result that, so far, has surprised us [circle]
Our picket fence captures 100% of the recharge from the para- and supra-basal zones—none escapes
And it captures 12% of the basal zone’s recharge—in what has to be reversed flow along the boundary!
Interestingly—that’s the same amount that the actual system captures from the basal zone.
Note that the actual system only gets 34% of the para-supra-basal recharge—and that the basal zone provides half of its total extraction…..

## Slide 12
The Imaginary System
Notes: Here is a graphic comparison of the two systems:
The actual system is in the middle, the Imagineered system on the top. Dark blue bars show the pumping rates of wells IN THE PARA-BASAL ZONE—which in the imaginary system is ALL of them.
The actual system has a few more basal wells than para-basal, with a similar pumping profile.
It also has a few wells, including its highest producing—and best quality—wells actually inside the supra-basal zone.
The gold bars show the chloride concentrations—actual and simulated—for each well…..

## Slide 13
222 gpm
130 wells
42 MGD
Phase 4
500 gpm
130 wells
93 MGD

## Slide 14
Phase 4 – For Publication and Nashville (NGWA)